# Figma UI/UX Design Specification: SepsisGuard Companion App

Project: Neonatal Sepsis Detection System (SDG 3.2 Innovation)

Target Device: 7”/10” Base Station Touch Display & Mobile Companion (Android/Tablet)

Primary Users: Rural Caregivers, ASHA Workers, Auxiliary Nurse Midwives (ANMs), & PHC Medical Officers

Design Lead Document Version: 1.0 (Ready for Figma Wireframing & Component Specs)

## 1. Design Philosophy & Core Principles

- Dual-Tier Usability Paradigm:

  - Tier 1 (Caregiver/ASHA View): Zero jargon, zero numbers, pure universal visual metaphors (Color + Icon + Action). Optimized for high-stress and low-literacy contexts.

  - Tier 2 (Professional/Clinical View): Data-dense, multi-parameter trend lines, rate-of-change indicators, and manual spot-check entry for clinicians.

- Accessible Under Extreme Conditions: High-contrast tokens (WCAG AAA compliant) designed for low-cost, low-brightness LCD displays and direct sunlight in rural health sub-centers.

- Audio-First Feedback: Every critical state includes a prominent, touch-friendly Voice Prompt Pill (🔊 Tap to Listen) supporting localized audio playback (Hindi, Marathi, Bengali, Tamil, Telugu, etc.).

- Action-Oriented Triage: Never leave the user guessing "What next?". Every state clearly communicates the exact immediate step (e.g., Check warmth, Feed baby, Go to PHC immediately).

## 2. Design System Foundations & Design Tokens

### 2.1 Semantic Color Palette

| Token Name | Hex Code | Usage Context | Accessibility Rule |
| --- | --- | --- | --- |
| color-state-green-bg | #064E3B | State A (Normal) Screen Background | High-contrast dark emerald background |
| color-state-green-card | #022C22 | State A Content Card Fill | Deep dark teal fill |
| color-state-green-accent | #34D399 | Checkmarks, positive indicators | Crisp mint text & icons |
| color-state-amber-bg | #78350F | State B (Caution) Screen Background | Deep warm amber background |
| color-state-amber-card | #451A03 | State B Content Card Fill | Dark chocolate amber card fill |
| color-state-amber-accent | #FBBF24 | Caution borders, warning badges | Bright amber icon & focal text |
| color-state-red-bg | #881337 | State C (Critical) Screen Background | Pulsing deep rose/red background |
| color-state-red-card | #4C0519 | State C Content Card Fill | Dark maroon card fill |
| color-state-red-accent | #FB7185 | Emergency icons, alert buttons | High-visibility coral red |
| color-neutral-dark | #0F172A | Clinical View Page Background | Dark slate canvas for data charts |
| color-neutral-card | #1E293B | Clinical View Cards & Panels | Elevated slate card fill |
| color-text-primary | #F8FAFC | Primary Headlines & Metrics | 100% Crisp off-white |
| color-text-secondary | #94A3B8 | Subtitles, labels, chart axes | Neutral cool gray |

### 2.2 Typography Scale

- Primary Font Family: Plus Jakarta Sans or Inter (Fallback: System Sans-Serif)

- Regional Language Font Family: Noto Sans (Supports Devanagari, Tamil, Telugu, Bengali scripts)

| Style Token | Size / Line Height | Weight | Usage |
| --- | --- | --- | --- |
| Display-Hero | 44px / 52px | 800 (ExtraBold) | Hero State Headlines (e.g., SEEK MEDICAL CARE) |
| Heading-1 | 28px / 36px | 700 (Bold) | Card Headers, Section Titles |
| Heading-2 | 20px / 28px | 600 (SemiBold) | Metric Values, Sub-headers |
| Body-Large | 16px / 24px | 500 (Medium) | Caregiver Instructions, Primary Buttons |
| Body-Small | 14px / 20px | 400 (Regular) | Secondary Labels, Timestamps |
| Caption | 12px / 16px | 600 (SemiBold) | Chart Legend Labels, Sensor Status Badges |

### 2.3 Layout Grid & Spacing Units

- Base Unit: 8pt Grid System (8px, 16px, 24px, 32px, 48px, 64px)

- Touch Target Size: Minimum 48px × 48px for all clickable items; 64px height minimum for primary emergency actions.

- Border Radius System:

  - Base Cards: 16px (rounded-2xl)

  - Buttons & Pills: 12px (rounded-xl) or Full (rounded-full)

  - Badges & Tags: 8px (rounded-lg)

## 3. Screen-by-Screen Figma Frame Specifications

+----------------------------------+
                     |    FRAME 1: HOME / OVERVIEW      |
                     |  (Green / Amber / Red Component) |
                     +----------------------------------+
                                      |
                     +----------------+----------------+
                     |                                 |
                     v                                 v
        +-------------------------+       +-------------------------+
        | FRAME 2: CLINICAL DATA  |       | FRAME 3: HARDWARE SETUP |
        |  & TRENDS PANEL         |       |   & CALIBRATION MODAL   |
        +-------------------------+       +-------------------------+

### Frame 1: Home / Overview Screen (Component Variants for Green, Amber, Red)

Figma Frame Size: 1280px × 800px (Landscape Tablet/Base Station) or 390px × 844px (Mobile Responsive Variant)

#### 1. Global Persistent Header Bar (Top 80px)

- Left Group:

  - Logo Icon: Soft square pill with baby icon (40px × 40px, Mint Green background).

  - App Name: SepsisGuard (Heading-2, Off-white).

  - Tagline: SDG 3.2 Neonatal Triage (Caption, Muted Gray).

- Center Group:

  - Hardware Status Badge: Container with color-neutral-card, displaying a glowing green dot + text Flexi-Cuff Connected | Battery 85% | BLE: Strong.

- Right Group:

  - Voice Prompt Pill (Hero Action): Floating pill button (color-state-accent border, filled background) with 🔊 Tap for Voice Advice (हिंदी / Regional).

  - Settings Gear Icon: Opens Device Setup Modal (48px × 48px touch target).

#### 2. Frame 1 Variant A: Green State Frame (Normal / Healthy)

- Canvas Background: color-state-green-bg (#064E3B)

- Hero Status Card (Center Stage, 60% Width):

  - Fill: color-state-green-card (#022C22), Border: 2px solid #059669.

  - Hero Graphic: Shield with a checkmark icon (80px × 80px, Mint Green #34D399).

  - Headline: "Baby is Resting Safely" (Display-Hero, White).

  - Subtitle: "All monitored signs (Temperature, Pulse, Breathing) are within normal range."

- Caregiver Action Box (Bottom Row):

  - Icon Card 1: 🍼 Continue Regular Feeding

  - Icon Card 2: 🌡️ Keep Baby Warm & Covered

  - Icon Card 3: 🦶 Keep Ankle Band On

- Professional Toggle Button (Bottom Right):

  - Button: [ 📊 Open Clinical View ] (Body-Large, Glassmorphism dark pill button).

#### 3. Frame 1 Variant B: Amber State Frame (Caution / Watchful Waiting)

- Canvas Background: color-state-amber-bg (#78350F)

- Hero Status Card:

  - Fill: color-state-amber-card (#451A03), Border: 2px solid #D97706 with subtle pulsing glow.

  - Hero Graphic: Warning Triangle with Eye Icon (80px × 80px, Bright Amber #FBBF24).

  - Headline: "Keep a Close Eye on Baby" (Display-Hero, White).

  - Subtitle: "A slight deviation was detected in temperature or breathing pattern."

- Caregiver Action Checklist (Center Row):

  - Checklist Card 1: [ ! ] Check if baby is too cold or warm. Adjust blanket.

  - Checklist Card 2: [ ! ] Try to feed the baby now.

  - Checklist Card 3: [ ⏱️ ] Re-check this screen in 30 minutes.

- Secondary Action Button:

  - Large Button: [ 🔊 Replay Voice Guidance ]

#### 4. Frame 1 Variant C: Red State Frame (CRITICAL ALERT)

- Canvas Background: color-state-red-bg (#881337), Frame includes a pulsing outer border animation (1.5s infinite loop).

- Hero Status Card:

  - Fill: color-state-red-card (#4C0519), Border: 3px solid #F43F5E.

  - Hero Graphic: Flashing Siren / Emergency Health Center Icon (96px × 96px, Bright Coral #FB7185).

  - Headline: "TAKE BABY TO HOSPITAL NOW" (Display-Hero, White, High Impact).

  - Subtitle: "Multiple physiological signs show a pattern of serious infection / sepsis."

- Emergency Action Banner (Full Width, Height 80px):

  - Background: Solid Bright Red (#E11D48).

  - Text: "Go to nearest Primary Health Center (PHC) immediately. Do not wait."

- Quick Contact Action Row:

  - Primary Button: [ 📞 Call ASHA Worker / Ambulance ] (Height: 64px, Emerald Fill).

  - Secondary Button: [ 📊 Open Clinical Diagnostic Panel ] (Height: 64px, Muted Outlined).

### Frame 2: Clinical Details & Manual Tracking Page (Professional View)

Target User: Nurses, ANMs, Doctors

Layout Structure: 2-Column Dashboard Grid (Left Column: 350px Sidebar, Right Column: Main Data Stream)

+-----------------------------------------------------------------------------+
| Top Bar: [ ← Back to Overview ] | Infant: 12 Days | Weight Band: <3.0kg     |
+-----------------------------------+-----------------------------------------+
| SIDEBAR: SUSPICION SCORE          | MAIN COLUMN: 4-CHANNEL VITAL TRENDS     |
| - Overall Status: HIGH SUSPICION  |                                         |
| - 6-System Derangement Checklist  | [ Chart 1: Temperature (°C) Trend ]     |
|   [x] Thermoregulation            |                                         |
|   [x] Cardiac Autonomic (HRV)     | [ Chart 2: HR (BPM) & HRV Triad ]       |
|   [x] Perfusion Index (PI)        |                                         |
|   [ ] HR/Temp Proportionality     | [ Chart 3: Perfusion Index (PI %) ]     |
|   [ ] Respiratory Pattern         |                                         |
|   [ ] Spontaneous Activity        | [ Chart 4: Respiration & Apnea Log ]    |
|                                   |                                         |
| MANUAL SPOT-CHECK INPUT FORM      | ACTIONS: [ Export CSV ] [ Sync Server ] |
+-----------------------------------+-----------------------------------------+

#### Detailed Element Specifications for Frame 2:

- Left Sidebar Panel (350px Width, Dark Slate Background #1E293B):

  - Header Box: Risk Assessment Summary

    - Status Pill: RED / HIGH SUSPICION (3 / 6 Systems Deranged).

    - Clinical Logic Note: "Breadth-of-systems gate triggered:  independent channels abnormal over rolling 4h window."

  - 6-System Interactive Checklist:

    - [✖ Red] Thermoregulation: Hypothermia trend (, dropping over 4h).

    - [✖ Red] Cardiac Autonomic: HRV Triad active (Sample Entropy collapse + decelerations).

    - [✖ Red] Perfusion Index: Downward slope (PI drop from 2.1% to 0.6%).

    - [✓ Green] HR/Temp Ratio: Proportionate ().

    - [✓ Green] Respiratory Pattern: Regular rate (, no apnea).

    - [✓ Green] Activity Level: Normal movement logged.

  - Manual Spot-Check Entry Form (Card Container):

    - Text Input 1: Manual Thermometer Temp (°C) + [ Save ] button.

    - Text Input 2: Capillary Refill Time (CRT in seconds).

    - Dropdown: Feeding Ability [ Normal / Reduced / Refusing ].

- Right Main Column (Vital Trends & Charts):

  - Time Horizon Selector: Pill Buttons [ 2 Hours ] | [ 6 Hours ] | [ 12 Hours (Active) ] | [ 24 Hours ].

  - Chart Card 1: Skin Temperature Curve ():

    - Y-Axis:  to .

    - Shaded Target Zone:  to  (Green opacity band).

    - Reference Thresholds: Dashed Red Lines at  (Hypothermia) and  (Fever).

  - Chart Card 2: Heart Rate (BPM) & HRV Triad:

    - Dual Line Display: HR Trend Line + Overlay bars showing transient HR decelerations.

    - Sub-Badge: SDG HRV Score: Low Variability / Reduced Entropy.

  - Chart Card 3: Peripheral Perfusion Index (PI %):

    - Trend Line: Shows transition from healthy perfusion () down to vasoconstriction ().

    - Tooltip Marker: "Microvascular compromise indicator."

  - Chart Card 4: Respiration & Apnea Event Log:

    - Area Chart: Respiration Rate Proxy ().

    - Event Pins: Red vertical markers indicating Apnea Pauses ( duration).

### Frame 3: Device Setup, Pairing, & Calibration Modal

Type: Overlay Modal (600px Width, Centered, Dark Backdrop Blur)

#### Modal Content Hierarchy:

- Modal Header: Flexi-Cuff Device Manager + Close [ ✖ ] Button.

- Section 1: Hardware Connection & Signal Quality

  - Hardware ID: FC-8842-IN | Status: Connected via BLE 5.0.

  - Signal Strength Indicator: 4 Green Bars (-58 dBm).

  - Battery Level: Progress Bar showing 85% (~42 Hours Remaining).

- Section 2: Live Sensor Contact Diagnostics

  - Optical PPG Contact: [ Perfect / Medial Plantar Placement ] (Green Check).

  - Skin Temp Sensor: [ Flush Contact / 36.2°C Reading ] (Green Check).

  - IMU Motion Baseline: [ Resting / Low Noise ] (Green Check).

- Section 3: Caregiver Guidance & Maintenance Notes

  - Card Note 1: "Ensure the cuff is snug around the ankle but not tight. You should be able to slip a finger under the strap."

  - Card Note 2: "Rotate the cuff to the opposite ankle every 24 hours to prevent skin irritation."

- Action Footer:

  - Button 1: [ 🔄 Recalibrate Sensors ] (Outline).

  - Button 2: [ 🔍 Pair Different Cuff ] (Primary Fill).

## 4. Figma Component Architecture & Variants Table

To keep the Figma file organized, create the following core components in your Design System / Master Components page:

| Component Name | Variants / States | Description / Properties |
| --- | --- | --- |
| Comp / Status-Hero-Card | State=Green, State=Amber, State=Red | The main hero state card on Frame 1. Automatically adjusts fill, border, and hero graphic. |
| Comp / Voice-Prompt-Pill | State=Idle, State=Playing, State=Hover | Audio button in header. Features pulsing soundwave icon when active. |
| Comp / Check-Item | Status=Normal (Green), Status=Deranged (Red) | Checklist row used in the Clinical Sidebar for system tracking. |
| Comp / Vital-Chart-Card | Type=Temp, Type=HR, Type=PI, Type=Resp | Container for trends. Has slots for title, current value pill, and line chart area. |
| Comp / Action-Button | Variant=Primary, Variant=Secondary, Variant=Emergency | Universal touch button with explicit min-height specs (48px or 64px). |
| Comp / Sensor-Status-Badge | Status=Connected, Status=Weak-Contact, Status=Disconnected | Top bar badge showing live cuff hardware health. |

## 5. Design Handoff Checklist for Figma Designers

When building these screens in Figma, please verify:

- [ ] Auto Layout Everything: All cards, screens, and lists must use Figma Auto Layout (Shift + A) for responsiveness across 7”, 10” displays, and mobile frames.

- [ ] Color Styles Applied: Use the exact Hex tokens defined in Section 2.1; do not use raw hex values on frames.

- [ ] Touch Target Padding: Ensure all clickable buttons have at least 12px top/bottom padding to guarantee a ≥48px physical touch area.

- [ ] Contrast Check: Run the Stark plugin to verify all text elements pass WCAG AAA standards against their respective background fills.

- [ ] Voice Prompt Prominence: Ensure the Voice Prompt Pill remains fixed in the top right header across all states so low-literacy users can always tap for audio help.